Supervisor: 	Dept: ______________________	Date: ___/___/___

###### TYPES OF FIRES

Class A fires are fires in ordinary combustibles such as wood, paper, cloth,

and plastics.

Class B fires are fires in flammable liquids such as gasoline, petroleum oil, and paint. Also included are flammable gases such as propane and butane. Class B fires do not include fires involving cooking oils and grease.

.

Class C fires are fires involving energized electrical equipment such as motors, transformers, and appliances. Remove the power and the Class C fire becomes one of the other classes of fire.

Class D fires are fires in combustible metals such as titanium, sodium, aluminum and magnesium.

Class K fires are fires in cooking oils and greases such as animal fats and vegetable fats.

Remember: Kitchens require the proper extinguisher for newer high-efficiency cooking appliances, such as deep fryers.