Fire Inspection Checklist

Location: _____________________  Date:   _________

|  | YES | NO | PROBLEM AND CORRECTIVE ACTION | DATE |
| --- | --- | --- | --- | --- |
| Housekeeping |  |  |  |  |
| Work areas clean and neat |  |  |  |  |
| Combustible waste stored in metal cans, removed daily |  |  |  |  |
| Oil and grease cleaned up |  |  |  |  |
| Oily or paint soaked waste kept in covered metal containers |  |  |  |  |
| Spilled materials cleaned up immediately |  |  |  |  |
| Combustible dust vacuumed to prevent accumulation |  |  |  |  |
| Fire Prevention |  |  |  |  |
| Hot work permit system in place |  |  |  |  |
| Fire extinguishers marked, accessible, inspected, adequate in number, appropriate for service |  |  |  |  |
| Hydrants clear, access to road open |  |  |  |  |
| No smoking signs posted and enforced |  |  |  |  |
| Electrical |  |  |  |  |
| GFIs on appliances and equipment |  |  |  |  |
| Extension cords are not used for permanent service |  |  |  |  |
| Outlets are not overloaded |  |  |  |  |
| Wires are not run through doors, walls, or under desks |  |  |  |  |
| Wires are protected from foot and chair traffic |  |  |  |  |
| Plugs and cords are in good condition |  |  |  |  |
| Electrical dangers posted |  |  |  |  |
| Equipment Maintenance |  |  |  |  |
| Fire alarm system tested annually |  |  |  |  |
| Alarm pull boxes clearly identified and unobstructed |  |  |  |  |
| Local fire department is acquainted with facility and specific hazards |  |  |  |  |
| Interior pipes and valves inspected regularly |  |  |  |  |

|  | YES | NO | PROBLEM AND CORRECTIVE ACTION | DATE |
| --- | --- | --- | --- | --- |
| Fire doors and shutters in good operating condition and protected from obstructions |  |  |  |  |
| Sprinkler system water control valves, air and water pressure are checked weekly |  |  |  |  |
| Sprinkler heads protected by metal guards if exposed to physical damage |  |  |  |  |
| Proper clearance maintained below sprinkler heads (18”) |  |  |  |  |
| Fire doors are tested and operational (semi-annual inspection) |  |  |  |  |
| Self closing devices and door latches work properly |  |  |  |  |
| Material Storage |  |  |  |  |
| Materials stacked neatly and securely |  |  |  |  |
| Stacks on firm footings, not too high |  |  |  |  |
| All stored materials are accessible |  |  |  |  |
| Materials protected from heat and moisture |  |  |  |  |
| Materials protected from dust accumulation |  |  |  |  |
| Non-compatible materials not stored together |  |  |  |  |
| Separate area for hazardous material storage |  |  |  |  |
| Containers not spilled or leaking |  |  |  |  |
| Employee Behavior |  |  |  |  |
| Employees are periodically instructed in use of fire extinguishers |  |  |  |  |
| Employees observe no smoking rules |  |  |  |  |
| Welders have proper personal protective equipment (goggles, gloves, clothing) |  |  |  |  |
| Flammable Gases and Liquids |  |  |  |  |
| Containers are clearly labeled |  |  |  |  |
| Flammables stored in explosion-proof cabinets |  |  |  |  |
| Combustible packaging no stored in flammable-proof cabinets |  |  |  |  |
| Proper storage temperatures |  |  |  |  |
| Carts available for moving cylinders |  |  |  |  |

|  | YES | NO | PROBLEM AND CORRECTIVE ACTION | DATE |
| --- | --- | --- | --- | --- |
| Proper types and number of extinguishers |  |  |  |  |
| Cylinders stored at least 20 feet away from combustibles and in a ventilated area |  |  |  |  |
| Cylinders are not stored near elevators, stairs, or gangways |  |  |  |  |
| Oxygen and fuel-gas cylinders are stored at least 20 feet apart |  |  |  |  |
| LPG cylinders are not stored in buildings |  |  |  |  |
| Cylinders are kept away from source of heat |  |  |  |  |
| Welding and Cutting |  |  |  |  |
| Screens and shields in place |  |  |  |  |
| Electrical equipment grounded |  |  |  |  |
| Power cables protected and grounded |  |  |  |  |
| Fire extinguisher of proper type available for instant use |  |  |  |  |
| Shields used to confine sparks and slag when combustibles can’t be moved |  |  |  |  |
| Gas cylinders chained upright |  |  |  |  |
| Gas lines protected and in good condition |  |  |  |  |
| Welders and helpers not allowed to carry portable cigarette lighters |  |  |  |  |

__________________________________	_____________________________

Inspector’s Name					Date